## Sheet1
WEST LEGACY PARK AT 327 MAIN STREET
CDBG # 16-524
PROJECT BID SHEET
# | DESCRIPTION | QUAN | UNIT | UNIT $ | TOTAL
PARK ENTRANCE FEATURE
1 | REMOVAL OF EXISTING BEAM AND CENTER SUPPORT COLUMN | 1 | LS
2 | ENTRY COLUMN AND FOUNDATION | 2 | EA
3 | NEW BEAMS | 2 | LS
4 | PATCH-CLEANUP OF EXISTING SIDEWALK | 1 | LS
GRADING
5 | REMOVAL AND HAUL-OFF EXISTING, UNCLASSIFIED BASE FOR PAVEMENT, PLANTING AND PLAYGROUND AREAS | 256 | SY
STORM DRAINAGE
6 | 6" S&D DRAINAGE PIPE | 140 | LF
7 | 6" S&D DRAINAGE PIPE FOR FUTURE FOUNTAIN | 20 | LF
8 | 6" S&D WYE FITTINGS | 5 | LF
9 | 4" PERFORATED PIPE IN PLANTERS WITH SOCK | 160 | LF
10 | DRAIN INLET AT PLAY AREA | 2 | EACH
11 | 6" SQUARE BRASS GRATE DRAIN BASINS IN PAVEMENTS | 3 | EACH
12 | 6" ELL FITTINGS FOR DRAIN BASINS AND DRAIN INLETS AT PLAY AREA | 5 | EACH
13 | CONNECT TO EXISTING STORM DRAIN INCL. EXCAVATION, ALLEY CUT AND PATCH, BACKFILL | 1 | LS
WATER SERVICE
14 | ATTACH TO AND EXTEND SERVICE LINE | 100 | LF
ELECTRICAL SYSTEM AND SITE LIGHTING
15 | ELECTRIC SERVICE FROM TRANSFORMER ACROSS ALLEY | 1 | LS
16 | INCLUDING ALLEY CUT AND PATCH | 1 | LS
17 | DISTRIBUTION MOUNTING BOARD ON UNISTRUTS | 1 | LS
18 | 1" PVC CONDUITS | 640 | LF
19 | PEDESTRIAN LIGHTS ON 9 FT POLES | 7 | EA
20 | GROUND BOXES | 6 | EA
21 | 110v POWER OUTLETS | 4 | EA
NEW ENCLOSURE WALLS
22 | NORTH SITE WALL, PILASTERS, STEM WALL, FOOTINGS | 1 | LS
PAVEMENTS
23 | CONCRETE PAVEMENT, 6" THICK, INCL 12" STRUCTURAL FILL & THICKENED EDGE | 3235 | SF
24 | STAIN FOR RIVER DELTA COLOR | 605 | SF
25 | STAIN FOR REMAINING PLAZA CONCRETE | 2630 | SF
26 | BACK OF PLAY AREA CONCRETE BLOCK/BARRIER | 55 | LF
27 | TEMPORARY GRAVEL TO COVER GROUND AT FUTURE BATHROOM | 1500 | SF
SITE FURNITURE, PLAYGROUND & AMENITIES
28 | BENCHES, SURFACE MOUNT | 4 | EACH
29 | TRASH / RECYCLE RECEPTACLES, SURFACE MOUNT | 2 | EACH
30 | BIKE RACKS, PURCHASE AND INSTALL 1, SURFACE MOUNT | 1 | LS
31 | BIKE RACKS, PURCHASE AND DELIVER TO CITY ONLY | 1 | LS
32 | PLAYGROUND FILL, 12" DEPTH, FIBAR/PLAYSOFT | 30 | CY
33 | PLAYGROUND EQUIPMENT - STACKED GFRC TIMBER BALANCE BEAM | 1 | LS
34 | PLAYGROUND EQUIPMENT - 20" BIRCH GFRC STUMPS (5) | 1 | LS
35 | PLAYGROUND EQUIPMENT - FUN ROCK-SMALL | 1 | LS
LANDSCAPE
36 | PLANTER BACKFILL TOPSOIL | 43 | CY
37 | BOULDERS FOR GROUND LEVEL PLANTERS | 20 | EA
38 | TREES - EVERGREEN | 1 | EA
39 | SHRUBS - 5 GAL | 12 | EA
40 | PERENNIALS - 1 GAL | 24 | EA
41 | GRASSES - 1 GAL | 6 | EA
42 | LANDSCAPE SHRUB BED -ROCK MULCH, 3" DEPTH | 580 | SF
IRRIGATION
43 | PVC SLEEVING | 100 | LF
44 | BASIC CONTROLLER | 1 | EA
45 | NEMA-3 RATED BOX FOR CONTROLLER | 1 | EA
46 | BACKFLOW PREVENTOR | 1 | EA
47 | ZONE VALVE | 3 | EA
48 | 1" PVC PIPE | 160 | LF
49 | COMPRESSION FITTINGS | 3 | EA
50 | FLUSH BOXES | 2 | EA
51 | 1/2 INCH TUBING | 150 | LF
52 | XERI SPRAYS, INCLUDING 1/4" DISTIRBUTION TUBING | 102 | EA
MISCELLANEOUS
53 | F/A MINOR CONTRACT REVISIONS | 1 | LS | 20000 | 20000
TOTAL COST BASE BID:
BID ALTERNATE
54 | SOUTH MASONARY WALL SURFACE TREATMENT | 1250 | SF
TOTAL COST BID ALTERNATE:
TOTAL COST BASE BID + BID ALTERNATE: